## kri
ID | Volume A | Volume P | Modality | Spalte3 | Spalte4 | Läsionen gut segmentierbar | NN (CT/MR) | Error A | Error NN CT | Error NN MR | Error NN Low Dose CT | Comments (Teddy) | Max. Cranio-caudal | Max. latero-lateral | Max. anterior-posterior | V | Error V
1 | 1801.8 | 1665.6 | ct |  |  |  | 2017.51 | 8.177% | 21.13% |  |  |  | 11.26 | 21.07 | 12.62 | 928.1624 | 44.27%
2 | 1714.7 | 1172.6 | ct | keine lesion | Aszites |  | 1452.78 | 46.23% | 23.89% |  |  |  | 12.58 | 20.97 | 11.39 | 931.4606 | 20.56%
3 | 2263.6 | 2073 | ct |  |  |  | 2128.29 | 9.194% | 2.667% |  |  |  | 18.2 | 22.08 | 14.88 | 1853.6814 | 10.58%
4 | 1739.5 | 1798 | ct |  |  |  | 1757.13 | 3.254% | 2.273% |  |  |  | 11.69 | 23.2 | 13.39 | 1125.7573 | 37.39%
5 | 1941.7 | 1775.9 | ct |  |  |  | 1961.33 | 9.336% | 10.44% |  |  |  | 11.65 | 18.84 | 13.95 | 949.1672 | 46.55%
6 | 1526.8 | 1515.4 | mr |  |  |  | 4623.09 | 0.7523% |  | 205.1% |  |  | 10.8 | 17.23 | 12.92 | 745.3036 | 50.82%
7 | 1313.8 | 1328.6 | mr |  |  |  | 2810.78 | 1.114% |  | 111.6% |  |  | 12.86 | 19.19 | 11.56 | 884.373 | 33.44%
8 | 1304.1 | 1243 | mr |  |  |  | 3560.22 | 4.916% |  | 186.4% |  |  | 12.1 | 16.33 | 11.08 | 678.6924 | 45.4%
9 | 1620.4 | 1516.3 | ct |  |  |  | 2044.4 | 6.865% | 34.83% |  |  |  | 12.51 | 13.24 | 13.56 | 696.2524 | 54.08%
10 | 1357.2 | 1330 | mr |  |  |  | 2459.17 | 2.045% |  | 84.9% |  |  | 13.02 | 16.14 | 12.37 | 805.8346 | 39.41%
11 | 1566.9 | 1549.1 | mr |  |  |  | 3265.72 | 1.149% |  | 110.8% |  |  | 9.9 | 15.04 | 14.82 | 684.058 | 55.84%
12 | 1460.6 | 1466.1 | ct |  |  |  | 2983.24 | 0.3751% | 103.5% | [6 empty] | 0 | 100%
13 | 1633.4 | 1557.7 | mr |  |  |  | 2795.38 | 4.86% |  | 79.46% | [5 empty] | 0 | 100%
14 | 1737.8 | 1781.4 | ct |  |  |  | 1549.65 | 2.448% | 13.01% | [6 empty] | 0 | 100%
15 | 2186.1 | 2274 | ct |  |  |  | 2307.29 | 3.865% | 1.464% | [6 empty] | 0 | 100%
16 | 1714.3 | 1807.1 | ct |  |  |  | 1657.36 | 5.135% | 8.286% | [6 empty] | 0 | 100%
17 | 1512.3 | 1506.5 | ct |  |  |  | 1347.96 | 0.385% | 10.52% | [6 empty] | 0 | 100%
18 | 1967.4 | 2019.5 | ct |  |  |  | 1983.33 | 2.58% | 1.791% | [6 empty] | 0 | 100%
19 | 1742.9 | 1613 | ct |  |  |  | 1681.32 | 8.053% | 4.236% | [6 empty] | 0 | 100%
20 | 1771.8 | 1668.2 | mr |  |  |  | 4513 | 6.21% |  | 170.5% | [5 empty] | 0 | 100%
21 | 1885.8 | 1799 | mr |  |  |  | 4029.76 | 4.825% |  | 124% | [5 empty] | 0 | 100%
22 | 1415.2 | 1394.5 | mr |  |  |  | 2597.11 | 1.484% |  | 86.24% | [5 empty] | 0 | 100%
23 | 1057.5 | 1033.5 | mr |  |  |  | 6329.84 | 2.322% |  | 512.5% | [5 empty] | 0 | 100%
24 | 2002.2 | 1941.2 | ct |  |  |  | 1831.83 | 3.142% | 5.634% | [6 empty] | 0 | 100%
25 | 1246.4 | 1140.9 | mr |  |  |  | 2039.88 | 9.247% |  | 78.8% | [5 empty] | 0 | 100%
26 | 1578.2 | 1481.1 | mr |  |  |  | 2637.39 | 6.556% |  | 78.07% | [5 empty] | 0 | 100%
27 | 1167.8 | 1186.5 | ct |  |  |  | 753.33 | 1.576% | 36.51% |  |  | 027_SEGM_1 |  |  |  | 0 | 100%
28 | 2079.8 | 1888.9 | mr |  |  |  | 4326.91 | 10.11% |  | 129.1% | [5 empty] | 0 | 100%
29 | 1309.4 | 1317.3 | ct |  |  |  | 1321.29 | 0.5997% | 0.3029% | [6 empty] | 0 | 100%
30 | 1994.1 | 1989.8 | mr |  |  |  | 5017.07 | 0.2161% |  | 152.1% | [5 empty] | 0 | 100%
31 | 1453.5 | 1511.3 | ct |  |  |  | 1529.41 | 3.825% | 1.198% | [6 empty] | 0 | 100%
32 | 1174.7 | 1205.5 | ct |  |  |  | 1161.83 | 2.555% | 3.623% | [6 empty] | 0 | 100%
33 | 1499.6 | 1556.7 | ct |  |  |  | 1475.9 | 3.668% | 5.19% | [6 empty] | 0 | 100%
34 | 1339 | 1294.6 | mr |  |  |  | 6794.24 | 3.43% |  | 424.8% | [5 empty] | 0 | 100%
35 | 1049 | 1109.1 | ct |  |  |  | 1253.37 | 5.419% | 13.01% | [6 empty] | 0 | 100%
36 | 1069 | 1062.8 | mr |  |  |  | 3449.06 | 0.5834% |  | 224.5% | [5 empty] | 0 | 100%
37 | 1717.5 | 1624.4 | mr |  |  |  | 4833.15 | 5.731% |  | 197.5% | [5 empty] | 0 | 100%
38 | 3371.7 | 3489.7 | ct |  |  |  | 3380.49 | 3.381% | 3.129% | [6 empty] | 0 | 100%
39 | [11 empty] | whole data missing
40 | 1266 | 1176.1 | mr |  |  |  | 3589.68 | 7.644% |  | 205.2% | [5 empty] | 0 | 100%
41 | 2609.7 | 2513.1 | mr |  |  |  | 5170.02 | 3.844% |  | 105.7% | [5 empty] | 0 | 100%
42 | 2962.4 | 2818.8 | mr |  |  |  | 6167.79 | 5.094% |  | 118.8% | [5 empty] | 0 | 100%
43 | 3499.1 | 3648.8 | ct |  |  |  | 3717.74 | 4.103% | 1.889% | [6 empty] | 0 | 100%
44 | 2536 | 2262.7 | mr | a big difference |  |  | 9759.43 | 12.08% |  | 331.3% | [5 empty] | 0 | 100%
45 | 1298.8 | 1299.3 | ct |  |  |  | 1255.4 | 0.03848% | 3.379% | [6 empty] | 0 | 100%
46 | 1318.9 | 1182.6 | mr |  |  |  | 3777.71 | 11.53% |  | 219.4% | [5 empty] | 0 | 100%
47 | 1316.5 | 1298.4 | ct |  |  |  | 1268.75 | 1.394% | 2.284% | [6 empty] | 0 | 100%
48 | 1340.9 | 1361.1 | ct |  |  |  | 1339.15 | 1.484% | 1.613% | [6 empty] | 0 | 100%
49 | 1291.6 | 1260.3 | mr |  |  |  | 3143.75 | 2.484% |  | 149.4% | [5 empty] | 0 | 100%
50 | 1526 | 1461.1 | mr |  |  |  | 6143.71 | 4.442% |  | 320.5% | [5 empty] | 0 | 100%
51 | 1494.2 | 1521 | ct |  |  |  | 1490.63 | 1.762% | 1.997% | [6 empty] | 0 | 100%
52 | 2111.7 | 1361.1 | ct |  |  |  | 2098.82 | 55.15% | 54.2% | [6 empty] | 0 | 100%
53 | 2898.1 | 3021.9 | ct |  |  |  |  | 4.097% | 100% | [6 empty] | 0 | 100%
54 | 2171.7 | 2208.3 | ct |  |  |  | 2047.58 | 1.657% | 7.278% | [6 empty] | 0 | 100%
55 | 2052.7 | 2070.5 | mr |  |  |  | 46.9 | 0.8597% |  | -97.73% | [5 empty] | 0 | 100%
56 | 1983.6 | 1946.3 | mr |  |  |  | 5107.74 | 1.916% |  | 162.4% | [5 empty] | 0 | 100%
57 | 1606 | 1566.8 | ct |  |  |  | 1617.32 | 2.502% | 3.224% | [6 empty] | 0 | 100%
58 | 1708.3 | 1748.6 | ct |  |  |  | 1759.34 | 2.305% | 0.6142% | [6 empty] | 0 | 100%
59 | 1474.3 | 1504.3 | ct |  |  |  | 854.09 | 1.994% | 43.22% | [6 empty] | 0 | 100%
60 | 6568.9 | 6702.5 | ct |  |  |  | 5350.95 | 1.993% | 20.16% | [6 empty] | 0 | 100%
61 | 1663.3 | 1557.1 | ct |  |  |  | 1458.73 | 6.82% | 6.318% | [6 empty] | 0 | 100%
62 | 1768.6 | 1662.8 | mr |  |  |  | 3037.81 | 6.363% |  | 82.69% |  | 3 SIMU, first one used |  |  |  | 0 | 100%
63 | 1697.4 | 1639.9 | ct |  |  |  | 1630.13 | 3.506% | 0.5958% | [6 empty] | 0 | 100%
64 | 2427.7 | 2413.9 | ct |  |  |  | 2258.53 | 0.5717% | 6.436% | [6 empty] | 0 | 100%
65 | 1426.1 | 1520.4 | ct |  |  |  | 1412.32 | 6.202% | 7.109% | [6 empty] | 0 | 100%
66 | 2647.4 | 2494.6 | mr |  |  |  | 3929.51 | 6.125% |  | 57.52% | [5 empty] | 0 | 100%
67 | 1233.7 | 1174.3 | mr |  |  |  |  | 5.058% | [7 empty] | 0 | 100%
68 | 2397.4 | 2448.2 | ct |  |  |  | 2342.76 | 2.075% | 4.307% | [6 empty] | 0 | 100%
69 | 1954.2 | 1835.2 | mr |  |  |  | 675.54 | 6.484% |  | -63.19% | [5 empty] | 0 | 100%
70 | 2792.5 | 2720.7 | mr |  |  |  | 4095.04 | 2.639% |  | 50.51% | [5 empty] | 0 | 100%
71 | 2313.2 | 2720.7 | mr |  |  | 1 | 4039.67 | 14.98% |  | 48.48% | [5 empty] | 0 | 100%
72 | 1887.8 | 1944 | ct |  |  | 1 |  | 2.891% | 100% | [6 empty] | 0 | 100%
73 | 1541.2 | 1532.7 | ct |  |  | 1? | 1529.93 | 0.5546% | 0.1807% | [6 empty] | 0 | 100%
74 | 1431.2 | 1141.8 | mr |  |  |  | 2414.72 | 25.35% |  | 111.5% | [5 empty] | 0 | 100%
75 | 1582.6 | 1485.8 | mr |  |  | 1 | 2133.16 | 6.515% |  | 43.57% | [5 empty] | 0 | 100%
76 | 1685.2 | 1593.1 | ct |  |  | 1 | 1641.42 | 5.781% | 3.033% | [6 empty] | 0 | 100%
77 | 2114.9 | 2074.1 | ct |  |  |  | 1967.2 | 1.967% | 5.154% | [6 empty] | 0 | 100%
78 | 2091.1 | 1951.7 | mr |  |  | 1 | 3648.21 | 7.142% |  | 86.92% | [5 empty] | 0 | 100%
79 | 2330.1 | 2142.7 | mr |  |  | 1 | 3419.01 | 8.746% |  | 59.57% | [5 empty] | 0 | 100%
80 | 1821.3 | 1644.7 | mr |  |  |  | 2838.95 | 10.74% |  | 72.61% |  | 2 pret |  |  |  | 0 | 100%
81 | 1446.8 | 1284.1 | mr |  |  |  | 5522.39 | 12.67% |  | 330.1% | [5 empty] | 0 | 100%
82 | 1431.1 | 1268.3 | mr |  |  |  | 3710.53 | 12.84% |  | 192.6% | [5 empty] | 0 | 100%
83 | 1990.3 | 1954.3 | mr |  |  | 1 | 6160.25 | 1.842% |  | 215.2% | [5 empty] | 0 | 100%
84 | 2076.1 | 2063.5 | ct |  |  |  | 1758.55 | 0.6106% | 14.78% | [6 empty] | 0 | 100%
85 |  |  | ct | [8 empty] | simu not complete
86 | 2489.8 | 2330.6 | mr |  |  | 1 |  | 6.831% | [7 empty] | 0 | 100%
87 | 882.2 | 852 | ct |  |  |  | 794.56 | 3.545% | 6.742% | [6 empty] | 0 | 100%
88 | 3200.9 | 2785.2 | mr |  |  |  | 5498.34 | 14.93% |  | 97.41% | [5 empty] | 0 | 100%
89 | 1116.3 | 2785.3 | ct |  |  |  | 701.7 | 59.92% | 74.81% | [6 empty] | 0 | 100%
90 | 4059.3 | 3808.3 | mr |  |  |  | 6089.25 | 6.591% |  | 59.89% | [5 empty] | 0 | 100%
91 | 2365 | 2383.3 | mr |  |  | 1 | 4852 | 0.7678% |  | 103.6% | [5 empty] | 0 | 100%
92 | 2052.2 | 1903.7 | mr |  |  | 1 | 2706.2 | 7.801% |  | 42.15% | [5 empty] | 0 | 100%
93 | 1525 | 1343.9 | mr |  |  | 1 | 4164.25 | 13.48% |  | 209.9% | [5 empty] | 0 | 100%
94 | 2403.7 | 2247.1 | mr |  |  | 1 | 4080.09 | 6.969% |  | 81.57% | [5 empty] | 0 | 100%
95 | 2865.4 | 2579.7 | mr |  |  | 1 | 3932.69 | 11.07% |  | 52.45% | [5 empty] | 0 | 100%
96 | 1994.9 | 1868.8 | mr |  |  |  | 6654.35 | 6.748% |  | 256.1% | [5 empty] | 0 | 100%
97 | 2088.7 | 1907 | mr |  |  | 1 | 2788.91 | 9.528% |  | 46.25% | [5 empty] | 0 | 100%
98 | 1510.4 | 1184.2 | mr |  |  | 1 | 2242.88 | 27.55% |  | 89.4% | [5 empty] | 0 | 100%
99 | 2365.5 | 2259.8 | mr |  |  | 1 | 4242.58 | 4.677% |  | 87.74% | [5 empty] | 0 | 100%
100 | 1516.6 | 1516.6 | mr |  |  | 1 | 1803.45 | 0% |  | 18.91% | [5 empty] | 0 | 100%
101 | 3683.1 | 3679.8 | ct |  |  |  | 2118.05 | 0.08968% | 42.44% | [6 empty] | 0 | 100%
102 | 1452.8 | 1456.5 | mr |  |  | 1 | 5126.34 | 0.254% |  | 252% | [5 empty] | 0 | 100%
103 | 1923.1 | 1737.8 | mr |  |  |  | 3095.99 | 10.66% |  | 78.16% | [5 empty] | 0 | 100%
[8 empty] | 6.672% | 17.79% | 136.5% | [6 empty] | 93.45%
[8 empty] | 9.592% | 27.33% | 109.6% | [6 empty] | 19.34%

## kri-nn-postpr
ID | Volume A | Volume P | Modality | NN CT | Error | Dice | NN MR | Error | Dice | NN Low Dose | Error | Comments
1 | 1801.8 | 1665.6 | ct | 1487.85 | 10.67% | 89.54% |  |  |  | 1574.15 | 5.491%
2 | 1714.7 | 1172.6 | ct | 430.29 | 63.3% | 47.18% |  |  |  | 2308.64 | 96.88%
3 | 2263.6 | 2073 | ct | 2068.66 | 0.2094% | 87.87% |  |  |  | 1385.37 | 33.17% | ??? | NN CT |  | This is the volumetry computed by the nn without supervision removing all islands in the generated prediction, with morphological operations conect islands tat aver very close. Missing dice scores are due to corrupted stored meshes.
4 | 1739.5 | 1798 | ct | 1813.23 | 0.8471% | 92.97% |  |  |  | 1831.56 | 1.867% |  | Volume Error Mean | 6.353%
5 | 1941.7 | 1775.9 | ct | 1676.44 | 5.601% | 90.73% |  |  |  | 2310.24 | 30.09% |  | Volume Error Dev | 22.86%
6 | 1526.8 | 1515.4 | mr |  |  |  | 1533.96 | 1.225% | 94.77% | 1426.42 | 5.872% |  | Dice Error Mean | 86.21%
7 | 1313.8 | 1328.6 | mr |  |  |  | 1512.47 | 13.84% | 86.92% | 880.642 | 33.72% | Liver in other side | Patients | 46
8 | 1304.1 | 1243 | mr |  |  |  | 1277.24 | 2.755% | 88.93% | 1430.88 | 15.12% |  |  |  | Volume A | Teddy's calculation
9 | 1620.4 | 1516.3 | ct | 1390.57 | 8.292% | 88.97% |  |  |  | 1519.63 | 0.2196% |  |  |  | Volume P | Dr. Mustafa's calculation
10 | 1357.2 | 1330 | mr |  |  |  | 1338.03 | 0.6038% | 93.8% | 1364.79 | 2.616% |  |  |  | NN (CT) | Multiple volumes are broken, fragmented. Some preprocessing must be done
11 | 1566.9 | 1549.1 | mr |  |  |  | 1494.06 | 3.553% | 92.68% | 1398.73 | 9.707% |  | NN MRI
12 | 1460.6 | 1466.1 | ct | 1374.88 | 6.222% | 89.03% |  |  |  | 1702.24 | 16.11% |  | Volume Error Mean | 5.595%
13 | 1633.4 | 1557.7 | mr |  |  |  | 1700.27 | 9.153% | 87.82% | 1526.97 | 1.973% |  | Volume Error Dev | 6.521%
14 | 1737.8 | 1781.4 | ct | 1544.65 | 13.29% | 91.27% |  |  |  | 1670.41 | 6.23% |  | Dice Score Mean | 91.6%
15 | 2186.1 | 2274 | ct | 2029.93 | 10.73% | 91.54% |  |  |  | 2333.04 | 2.596% |  | Patients | 55 | NN (MRI) | Computed on every MR data partient, missing dice scores are due to missing anotations
16 | 1714.3 | 1807.1 | ct | 1818.16 | 0.612% | 88.68% |  |  |  | 1798.79 | 0.4599%
17 | 1512.3 | 1506.5 | ct | 360.16 | 76.09% | 38.64% |  |  |  | 1321.49 | 12.28%
18 | 1967.4 | 2019.5 | ct | 2042.57 | 1.142% | 91% |  |  |  | 1644.36 | 18.58%
19 | 1742.9 | 1613 | ct | 1505.96 | 6.636% | 87.14% |  |  |  | 1327.65 | 17.69% |  | NN LowDose
20 | 1771.8 | 1668.2 | mr |  |  |  | 1681.62 | 0.8045% | 92.71% | 1569.41 | 5.922% |  | Average Volume Error | 13.38% | NN (Low Dose) | Every lowdose volume evaluation, it´s meant to be similar to the diagnostic one (in ml)
21 | 1885.8 | 1799 | mr |  |  |  | 1934.24 | 7.518% | 90.65% | 2825.98 | 57.09% |  | Volume Error Dev | 16.97%
22 | 1415.2 | 1394.5 | mr |  |  |  | 1276.94 | 8.43% | 90.78% | 1379.75 | 1.058% |  | Patients | 17.02%
23 | 1057.5 | 1033.5 | mr |  |  |  | 1012.37 | 2.045% | 92.37% | 859.33 | 16.85%
24 | 2002.2 | 1941.2 | ct | 1775.63 | 8.529% | 89.49% |  |  |  | 2426.37 | 24.99%
25 | 1246.4 | 1140.9 | mr |  |  |  | 1244.66 | 9.095% | 89.82% | 1338.72 | 17.34% |  |  |  | NOTES: - Broken volume: Slice continuity is broken, maybe error while transfering - !!!! : Means that volume is very wrong but visually prediction is acceptable - Liver in the other side: Liver in not usual positions that nn is unfamiliar with
26 | 1578.2 | 1481.1 | mr |  |  |  | 1524.13 | 2.905% | 94.72% | 1678.06 | 13.3%
27 | 1167.8 | 1186.5 | ct | 1171.33 | 1.279% | 95.21% |  |  |  | 1222.3 | 3.017%
28 | 2079.8 | 1888.9 | mr |  |  |  | 2006.6 | 6.231% |  | 1977.03 | 4.666%
29 | 1309.4 | 1317.3 | ct | 1328.99 | 0.8874% | 93.15% |  |  |  | 1167.41 | 11.38%
30 | 1994.1 | 1989.8 | mr |  |  |  | 2030.28 | 2.034% | 94.92% | 2643.27 | 32.84%
31 | 1453.5 | 1511.3 | ct | 1607.99 | 6.398% | 91.51% |  |  |  | 1706.59 | 12.92%
32 | 1174.7 | 1205.5 | ct | 1054.97 | 12.49% | 83.47% |  |  |  | 1210.63 | 0.4255%
33 | 1499.6 | 1556.7 | ct | 1566.83 | 0.6507% | 95.64% |  |  |  | 833.415 | 46.46%
34 | 1339 | 1294.6 | mr |  |  |  | 1336.71 | 3.253% | 93.51% | 1037.95 | 19.82% | bad pat. Positioning
35 | 1049 | 1109.1 | ct | 1150.19 | 3.705% | 89.89% |  |  |  | 1279.22 | 15.34% | bad pat. Positioning
36 | 1069 | 1062.8 | mr |  |  |  | 1109.1 | 4.356% | 93.35% | 1220.81 | 14.87%
37 | 1717.5 | 1624.4 | mr |  |  |  | 1684.75 | 3.715% | 91.72% | 1746.34 | 7.507%
38 | 3371.7 | 3489.7 | ct | 3079.66 | 11.75% | 92.55% |  |  |  | 3474.18 | 0.4447%
39 | 0 | 0 | 0 | [8 empty] | Is repeated from other
40 | 1266 | 1176.1 | mr |  |  |  | 1217.24 | 3.498% | 93.37% | 1188.34 | 1.041%
41 | 2609.7 | 2513.1 | mr |  |  |  | 2674.48 | 6.422% | 92.84% | 3089.17 | 22.92%
42 | 2962.4 | 2818.8 | mr |  |  |  | 2161.7 | 23.31% | 78.99% | 3256.97 | 15.54%
43 | 3499.1 | 3648.8 | ct | 2911.33 | 20.21% | 85.88% |  |  |  | 2848.14 | 21.94% | bad lowdose
44 | 2536 | 2262.7 | mr | [6 empty] | 2483.09 | 9.74% | Wrong MR sequence
45 | 1298.8 | 1299.3 | ct | 1306.32 | 0.5403% | 91.16% |  |  |  | 1144.73 | 11.9%
46 | 1318.9 | 1182.6 | mr |  |  |  | 1224.79 | 3.568% | 93.4% | 1250.88 | 5.774%
47 | 1316.5 | 1298.4 | ct | 1284.98 | 1.034% | 91.17% |  |  |  | 1578.94 | 21.61%
48 | 1340.9 | 1361.1 | ct | 1320.03 | 3.017% | 95.18% |  |  |  | 1505.33 | 10.6%
49 | 1291.6 | 1260.3 | mr |  |  |  | 1208.56 | 4.105% | 94.56% | 986.791 | 21.7%
50 | 1526 | 1461.1 | mr |  |  |  | 1437.44 | 1.619% | 94.77% | 1385.28 | 5.189%
51 | 1494.2 | 1521 | ct | 204.728 | 86.54% | 23.66% |  |  |  | 1180.65 | 22.38%
52 | 2111.7 | 1361.1 | ct | 2132.17 | 56.65% | 91.2% |  |  |  | 2103.15 | 54.52%
53 | 2898.1 | 3021.9 | ct | 3118.28 | 3.189% | 90.27% |  |  |  | 2834.3 | 6.208%
54 | 2171.7 | 2208.3 | ct | 1897.91 | 14.06% | 90.7% |  |  |  | 2666.23 | 20.74%
55 | 2052.7 | 2070.5 | mr |  |  |  | 1988.71 | 3.95% | 94.86% | 2044.38 | 1.262%
56 | 1983.6 | 1946.3 | mr |  |  |  | 2184.8 | 12.25% | 88.89% | 1809.44 | 7.032%
57 | 1606 | 1566.8 | ct | 1604.75 | 2.422% | 90.45% |  |  |  | 1892.8 | 20.81%
58 | 1708.3 | 1748.6 | ct | 1791.65 | 2.462% | 92.8% |  |  |  | 2167.96 | 23.98%
59 | 1474.3 | 1504.3 | ct | 1426.29 | 5.186% | 93.38% |  |  |  | 1530.38 | 1.734%
60 | 6568.9 | 6702.5 | ct | 1965.81 | 70.67% | 44.43% |  |  |  | 6760.81 | 0.87%
61 | 1663.3 | 1557.1 | ct | 1285.73 | 17.43% | 85.04% |  |  |  | 1893.57 | 21.61%
62 | 1768.6 | 1662.8 | mr |  |  |  | 1588.84 | 4.448% | 92.22% | 1420.11 | 14.6%
63 | 1697.4 | 1639.9 | ct | 1369.12 | 16.51% | 83.09% |  |  |  | 1566.81 | 4.457%
64 | 2427.7 | 2413.9 | ct | 1197.28 | 50.4% | 65.05% |  |  |  | 2919.93 | 20.96%
65 | 1426.1 | 1520.4 | ct | 1388.7 | 8.662% | 93.24% |  |  |  | 1989.72 | 30.87% | !!!
66 | 2647.4 | 2494.6 | mr |  |  |  | 2389.33 | 4.22% | 94.33% | 2421.12 | 2.946%
67 | 1233.7 | 1174.3 | mr |  |  |  | 1361.91 | 15.98% | 89.29% | 1088.86 | 7.276%
68 | 2397.4 | 2448.2 | ct | 2330.11 | 4.824% | 94.48% |  |  |  | 2715.15 | 10.9%
69 | 1954.2 | 1835.2 | mr |  |  |  | 1873.03 | 2.061% | 93.17% | 1690.46 | 7.887%
70 | 2792.5 | 2720.7 | mr |  |  |  | 2739.91 | 0.7061% | 95.64% | 2796.21 | 2.775%
71 | 2313.2 | 2720.7 | mr |  |  |  | 2166.49 | 20.37% | 90.97% | 2051.74 | 24.59%
72 | 1887.8 | 1944 | ct | 1878.56 | 3.366% | 92.04% |  |  |  | 2521.66 | 29.72% | !!!
73 | 1541.2 | 1532.7 | ct | 1489.32 | 2.83% | 95.57% |  |  |  | 1735.03 | 13.2%
74 | 1431.2 | 1141.8 | mr |  |  |  | 1026.6 | 10.09% | 88.65% | 1010.37 | 11.51%
75 | 1582.6 | 1485.8 | mr |  |  |  | 1467.93 | 1.203% | 94.22% | 1736.02 | 16.84%
76 | 1685.2 | 1593.1 | ct | 1673.78 | 5.064% | 90.22% |  |  |  | 1533.68 | 3.73%
77 | 2114.9 | 2074.1 | ct | 1796.36 | 13.39% | 90.28% |  |  |  | 2119.84 | 2.205%
78 | 2091.1 | 1951.7 | mr |  |  |  | 1922.03 | 1.52% | 90.23% | 2422.75 | 24.14%
79 | 2330.1 | 2142.7 | mr |  |  |  | 2259.59 | 5.455% | 92.18% | 2379.73 | 11.06%
80 | 1821.3 | 1644.7 | mr |  |  |  | 1426.86 | 13.24% | 85.25% | 1289.85 | 21.58%
81 | 1446.8 | 1284.1 | mr |  |  |  | 1440.9 | 12.21% | 90.83% | 1336.74 | 4.099%
82 | 1431.1 | 1268.3 | mr |  |  |  | 1418.24 | 11.82% | 87.2% | 1500.93 | 18.34%
83 | 1990.3 | 1954.3 | mr |  |  |  | 2080.97 | 6.482% | 93.34% | 2145.7 | 9.794%
84 | 2076.1 | 2063.5 | ct | 1902.79 | 7.788% | 87.36% |  |  |  | 1385.37 | 32.86%
85 | 0 | 0 | 0
86 | 2489.8 | 2330.6 | mr |  |  |  | 2386.02 | 2.378% | 92.45% | 3027.5 | 29.9%
87 | 882.2 | 852 | ct | 864.98 | 1.523% | 90.12% |  |  |  | 1019.59 | 19.67%
88 | 3200.9 | 2785.2 | mr |  |  |  | 2811.37 | 0.9396% | 92.74% | 2959.24 | 6.249%
89 | 1116.3 | 2785.3 | ct | 1043.18 | 62.55% | 84.48% |  |  |  | 415.398 | 85.09% | Liver in other side
90 | 4059.3 | 3808.3 | mr |  |  |  | 3751.2 | 1.499% | 93.77% | 4008.79 | 5.265%
91 | 2365 | 2383.3 | mr |  |  |  | 2320.03 | 2.655% | 95.34% | 2202.6 | 7.582%
92 | 2052.2 | 1903.7 | mr |  |  |  | 1816.86 | 4.562% | 91.62% | 2022.86 | 6.259%
93 | 1525 | 1343.9 | mr |  |  |  | 1399.21 | 4.116% | 92.35% | 1407.75 | 4.751%
94 | 2403.7 | 2247.1 | mr |  |  |  | 2253.86 | 0.3008% | 95.49% | 2469.14 | 9.881%
95 | 2865.4 | 2579.7 | mr |  |  |  | 2649.56 | 2.708% | 92.56% | 2762.21 | 7.075%
96 | 1994.9 | 1868.8 | mr |  |  |  | 2032.49 | 8.759% | 86.4% | 1576.98 | 15.62%
97 | 2088.7 | 1907 | mr |  |  |  | 1989.88 | 4.346% | 93.15% | 2039.7 | 6.959%
98 | 1510.4 | 1184.2 | mr |  |  |  | 1235.13 | 4.301% | 88.06% | 1446.6 | 22.16%
99 | 2365.5 | 2259.8 | mr |  |  |  | 2386.73 | 5.617% | 93.7% | 2326.45 | 2.949%
100 | 1516.6 | 1516.6 | mr |  |  |  | 1489.94 | 1.758% | 94.91% | 1743.42 | 14.96%
101 | 3683.1 | 3679.8 | ct | 3521.54 | 4.301% | 93.3% |  |  |  | 3221.66 | 12.45% | !!!
102 | 1452.8 | 1456.5 | mr |  |  |  | 1988.8 | 36.55% | 80.16% | 381.056 | 73.84% | Liver in other side
103 | 1923.1 | 1737.8 | mr |  |  |  | 1781.79 | 2.531% | 93.27% | 2586.61 | 48.84%